## Location-adjusted data
|  |  | δD | δD | δD | δD | δD | δD | δD | δD | δD | δD | δD | δD | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | D-excess | D-excess | D-excess | D-excess | D-excess | D-excess |  | H2O | H2O | H2O | H2O | H2O | H2O
|  | lag time (s, calculated from δ18O breakpoint) | standard deviation of pdf (σm, s ) | Std. Error of standard deviation of pdf (s) | mixing time (σs, s) | mixing time error (s) | location (ξ, s) | location error (s) | location time adjusted | [6 empty] | Std. Error of standard deviation of pdf | mixing time (σs, s) | mixing time error (s) | location (ξ, s) | location error (s) | location time adjusted | [5 empty] | location time adjusted |  |  | ¦max peak¦ - st. dev (‰) | ¦max peak¦ (‰) | ¦max peak¦ + st.dev (‰) |  | location time adjusted
| residence time (s, calculated based on temperature) | [7 empty] | t95% minimum (s) | t95% (s) | t95% maximum (s) | t63% minimum (s) | t63% (s) | t63% maximum (s) | standard deviation of pdf (σm, s ) | [5 empty] | t95% minimum (s) | t95% (s) | t95% maximum (s) | t63% minimum (s) | t63% (s) | t63% maximum (s) | t3‰ minimum (s) | t3‰ (s) | t3‰ maximum (s) |  |  |  |  | t95% minimum (s) | t95% (s) | t95% maximum (s) | t63% minimum (s) | t63% (s) | t63% maximum (s)
Tubing type
Figure 4 and S4 data bolded
H2O-matched experiments
WVISS-to-DPG switch
Unheated Copper | 48.2413 | 60 | 1.8327 | 0.005301 | 4.5406 | 0.1467 | 64.4358 | 0.69776 | 11.1167 | 14.1167 | 17.1167 | 1.1167 | 2.1167 | 2.1167 | 1.6347 | 0.0065 | 3.1716 | 0.10525 | 63.8833 | 0.56502 | 7.1167 | 7.1167 | 12.1167 | 1.1167 | 2.1167 | 2.1167 | 8.1167 | 14.1167 | 21.1167 | 7.9568 | 10.2188 | 12.4808 |  | only calculated for H2O varying experiments below
Heated Copper | 43.3959 | 53 | 1.5419 | 0.004632 | 3.9019 | 0.10376 | 55.8697 | 0.48709 | 11.6709 | 14.6709 | 15.6709 | 1.6709 | 2.6709 | 2.6709 | 1.3641 | 0.004486 | 2.7961 | 0.067053 | 55.3291 | 0.3442 | 6.6709 | 7.6709 | 12.6709 | 0.67089 | 1.6709 | 2.6709 | 9.6709 | 12.6709 | 17.6709 | 9.1804 | 9.9621 | 10.7437
Unheated PTFE | 47.8167 | 54 | 1.5488 | 0.004258 | 4.5813 | 0.14525 | 57.163 | 0.63158 | 15.0611 | 20.0611 | 26.0611 | 1.0611 | 2.0611 | 2.0611 | 1.5201 | 0.003537 | 3.5532 | 0.13183 | 56.9389 | 0.64584 | 4.0611 | 8.0611 | 16.0611 | 0.06113 | 1.0611 | 1.0611 | 15.0611 | 68.0611 | 214.0611 | 7.2398 | 11.3463 | 15.4527
Heated PTFE | 42.9246 | 49 | 1.4787 | 0.004905 | 4.5372 | 0.13759 | 51.8497 | 0.58687 | 22.8115 | 27.8115 | 31.8115 | 1.8115 | 2.8115 | 2.8115 | 1.185 | 0.002419 | 2.9535 | 0.060518 | 51.1885 | 0.28504 | 4.8115 | 5.8115 | 16.8115 | 0.81152 | 0.81152 | 0.81152 | 37.8115 | 52.8115 | 74.8115 | 14.9591 | 16.75 | 18.5409
Unheated HDPE | 21.2379 | 24.5 | 1.1269 | 0.004571 | 3.0051 | 0.11412 | 26.7789 | 0.52179 | 9.8716 | 13.8716 | 17.8716 | 1.8716 | 1.8716 | 1.8716 | 0.7989 | 0.005212 | 1.8131 | 0.046274 | 26.1284 | 0.23509 | 3.8716 | 4.8716 | 5.8716 | 0.87161 | 0.87161 | 0.87161 | 13.8716 | 20.8716 | 89.8716 | 10.1617 | 10.7411 | 11.3204
Heated HDPE | 18.1164 | 22 | 1.0961 | 0.00658 | 2.885 | 0.12214 | 24.6397 | 0.5619 | 15.8787 | 22.8787 | 30.8787 | 1.8787 | 1.8787 | 1.8787 | 0.90097 | 0.004346 | 2.0012 | 0.052212 | 24.1213 | 0.26162 | 4.8787 | 4.8787 | 10.8787 | 0.87873 | 0.87873 | 0.87873 | 29.8787 | 61.8787 | 168.8787 | 12.7562 | 15.0016 | 17.247
Unheated, thin FEP | 46.9481 | 55 | 2.0534 | 0.009161 | 5.6683 | 0.1815 | 59.4219 | 0.8169 | 23.9639 | 30.9639 | 34.9639 | 2.9639 | 3.9639 | 3.9639 | 1.3065 | 0.004777 | 3.0847 | 0.059463 | 58.0361 | 0.28255 | 6.9639 | 10.9639 | 12.9639 | 0.96385 | 1.9639 | 1.9639 | 22.9639 | 30.9639 | 71.9639 | 19.2049 | 21.3684 | 23.5319
Heated, thin FEP | 43.0814 | 50 | 1.809 | 0.008041 | 5.6082 | 0.18549 | 53.3492 | 0.78622 | 33.6491 | 38.6491 | 47.6491 | 2.6491 | 3.6491 | 3.6491 | 1.3871 | 0.003653 | 3.3926 | 0.086977 | 52.3509 | 0.41487 | 7.6491 | 8.6491 | 16.6491 | 0.64913 | 1.6491 | 1.6491 | 41.6491 | 83.6491 | 83.6491 | 24.8662 | 26.4447 | 28.0232
Unheated, thick FEP | 20.9638 | 25 | 1.1362 | 0.007608 | 2.7318 | 0.23423 | 27.6144 | 1.0791 | 7.6258 | 11.6258 | 11.6258 | 1.6258 | 1.6258 | 1.6258 | 1.1201 | 0.006941 | 2.5461 | 0.23431 | 27.3742 | 1.1087 | 4.6258 | 4.6258 | 9.6258 | 0.62576 | 0.62576 | 0.62576 | 7.6258 | 18.6258 | 57.6258 | 6.3217 | 7.4909 | 8.66
Heated, thick FEP | 18.5609 | 22 | 1.0923 | 0.026383 | 2.9797 | 0.11147 | 25.0713 | 0.50554 | 12.5343 | 15.5343 | 18.5343 | 1.5343 | 1.5343 | 1.5343 | 0.66103 | 0.006144 | 1.7585 | 0.047811 | 24.4657 | 0.23543 | 3.5343 | 6.5343 | 6.5343 | 0.53434 | 0.53434 | 1.5343 | 13.5343 | 20.5343 | 58.5343 | 11.5503 | 12.7885 | 14.0268
Unheated, short, thick FEP | 1.0999 | 3 | 0.96256 | 0.01216 | 1.9196 | 0.18915 | 5.2614 | 0.99377 | 5.1884 | 7.1884 | 7.1884 | 1.1884 | 1.1884 | 1.1884 | 0.70295 | 0.004782 | 1.5088 | 0.055419 | 4.8116 | 0.26606 | 3.1884 | 4.1884 | 5.1884 | 1.1884 | 1.1884 | 1.1884 | 7.1884 | 9.1884 | 17.1884 | 4.9446 | 7.5623 | 10.18
Heated, short, thick FEP | 0.96711 | 3 | 0.8226 | 0.01024 | 1.5999 | 0.099243 | 4.8588 | 0.50422 | 5.3114 | 6.3114 | 8.3114 | 1.3114 | 1.3114 | 1.3114 | 0.77918 | 0.02378 | 1.4203 | 0.22716 | 4.6886 | 1.2274 | 4.3114 | 4.3114 | 6.3114 | 1.3114 | 1.3114 | 1.3114 | -0.68864 | 7.3114 | 9.3114 | 4.8367 | 7.1957 | 9.5546
Unheated PFA | 46.586 | 59 | 1.5116 | 0.003926 | 3.8882 | 0.12919 | 58.9448 | 0.60298 | 11.3078 | 14.3078 | 16.3078 | 1.3078 | 1.3078 | 2.3078 | 1.3207 | 0.002212 | 3.6228 | 0.098478 | 58.6922 | 0.44441 | 5.3078 | 6.3078 | 10.3078 | 0.30781 | 1.3078 | 1.3078 | 8.3078 | 16.3078 | 25.3078 | 6.2944 | 7.7682 | 9.2421
Heated PFA | 42.3309 | 51 | 1.4623 | 0.003942 | 3.7753 | 0.1162 | 53.566 | 0.54092 | 10.8475 | 12.8475 | 18.8475 | 0.84754 | 1.8475 | 1.8475 | 1.1983 | 0.002633 | 2.8441 | 0.059143 | 53.1525 | 0.28487 | 4.8475 | 7.8475 | 8.8475 | 0.84754 | 0.84754 | 1.8475 | 10.8475 | 14.8475 | 43.8475 | 6.1071 | 8.2472 | 10.3873
Dekabon* | 39.2817 | 439 | 30.85 | 0.04212 | 208.6595 | 1.0255 | 486.5 | 2.345 | 1336.9 | 1651.9 | 1757.9 | 168.9 | 179.9 | 185.9 | 2.742 | 0.0002771 | 36.0901 | 0.083732 | 444.1 | 0.1739 | 8.9 | 28.9 | 43.9 | 0.9 | 1.9 | 3.9 | 1762.9 | 2344.9 | 2486.9 | 108.0479 | 114.7531 | 121.4583
DPG-to-WVISS switch
Unheated Copper | 48.2413 | 59 | 1.7007 | 0.005723 | 3.9098 | 0.11666 | 62.4691 | 0.57527 | 11.0485 | 12.0485 | 19.0485 | 2.0485 | 2.0485 | 2.0485 | 1.3443 | 0.004862 | 2.7725 | 0.066043 | 61.9515 | 0.33709 | 5.0485 | 8.0485 | 15.0485 | 1.0485 | 1.0485 | 1.0485 | 13.0485 | 42.0485 | 81.0485 | 9.8707 | 12.3708 | 14.871
Heated Copper | 43.3959 | 51 | 1.5717 | 0.00472 | 4.0031 | 0.1122 | 54.3771 | 0.52537 | 11.0781 | 16.0781 | 17.0781 | 2.0781 | 2.0781 | 2.0781 | 1.263 | 0.003723 | 2.6681 | 0.057843 | 53.9219 | 0.29164 | 6.0781 | 7.0781 | 7.0781 | 1.0781 | 1.0781 | 1.0781 | 14.0781 | 19.0781 | 41.0781 | 9.1706 | 11.0074 | 12.8441
Unheated PTFE | 47.8167 | 52.5 | 1.4627 | 0.004079 | 4.5334 | 0.12767 | 55.8664 | 0.54191 | 16.3478 | 23.3478 | 27.3478 | 1.3478 | 1.3478 | 1.3478 | 1.3617 | 0.002526 | 3.4895 | 0.087508 | 55.6522 | 0.40806 | 5.3478 | 8.3478 | 8.3478 | 0.34778 | 1.3478 | 1.3478 | 5.3478 | 13.3478 | 22.3478 | 4.3134 | 7.5118 | 10.7103
Heated PTFE | 42.9246 | 48 | 1.5422 | 0.006491 | 4.5899 | 0.16123 | 50.7901 | 0.69843 | 27.29 | 38.29 | 49.29 | 2.29 | 2.29 | 2.29 | 1.55 | 0.001413 | 5.939 | 0.15529 | 50.71 | 0.5959 | 6.29 | 9.29 | 11.29 | 0.29 | 1.29 | 1.29 | 43.29 | 75.29 | 214.29 | 13.6706 | 17.4069 | 21.1432
Unheated HDPE | 21.2379 | 23 | 1.0551 | 0.009007 | 2.3407 | 0.11904 | 25.7623 | 0.60533 | 12.2483 | 14.2483 | 14.2483 | 1.2483 | 1.2483 | 1.2483 | 1.199 | 0.02089 | 2.674 | 1.2077 | 25.7517 | 5.5762 | 2.2483 | 6.2483 | 6.2483 | 1.2483 | 1.2483 | 1.2483 | 7.2483 | 19.2483 | 37.2483 | 7.8134 | 9.0747 | 10.336
Heated HDPE | 18.1164 | 22 | 1.1907 | 0.006512 | 3.2194 | 0.13758 | 23.9524 | 0.62722 | 19.2387 | 22.2387 | 22.2387 | 1.2387 | 1.2387 | 2.2387 | 1.2187 | 0.004156 | 2.7255 | 0.1578 | 23.7613 | 0.78747 | 5.2387 | 6.2387 | 6.2387 | 0.23875 | 1.2387 | 1.2387 | 23.2387 | 24.2387 | 65.2387 | 13.1155 | 15.0373 | 16.9591
Unheated, thin FEP | 46.9481 | 54 | 2.1807 | 0.01155 | 5.9209 | 0.20173 | 58.3642 | 0.91581 | 30.0275 | 31.0275 | 38.0275 | 4.0275 | 4.0275 | 4.0275 | 1.3911 | 0.00497 | 3.2513 | 0.058993 | 56.9725 | 0.27903 | 7.0275 | 8.0275 | 15.0275 | 1.0275 | 2.0275 | 3.0275 | 29.0275 | 47.0275 | 73.0275 | 20.1617 | 23.0753 | 25.9889
Heated, thin FEP | 43.0814 | 48 | 1.7737 | 0.007939 | 5.3341 | 0.16658 | 51.9145 | 0.71717 | 26.8515 | 35.8515 | 49.8515 | 2.8515 | 2.8515 | 3.8515 | 1.4418 | 0.004583 | 3.2452 | 0.11722 | 51.1485 | 0.58548 | 6.8515 | 10.8515 | 34.8515 | 0.85154 | 1.8515 | 1.8515 | 34.8515 | 44.8515 | 192.8515 | 21.979 | 25.697 | 29.4151
Unheated, thick FEP | 20.9638 | 24 | 1.1051 | 0.006403 | 2.5751 | 0.098023 | 26.7401 | 0.47894 | 8.9593 | 16.9593 | 20.9593 | 1.9593 | 1.9593 | 1.9593 | 0.73115 | 0.002303 | 1.761 | 0.020452 | 26.0407 | 0.081472 | 3.9593 | 6.9593 | 12.9593 | 1.9593 | 1.9593 | 1.9593 | -0.040742 | 1.9593 | 18.9593 | 3.0271 | 6.3275 | 9.6279
Heated, thick FEP | 18.5609 | 22 | 1.0891 | 0.007062 | 2.608 | 0.10201 | 24.3143 | 0.49336 | 11.9562 | 20.9562 | 25.9562 | 0.9562 | 1.9562 | 1.9562 | 0.92771 | 0.002783 | 2.3294 | 0.051136 | 24.0438 | 0.24067 | 3.9562 | 5.9562 | 12.9562 | 0.9562 | 0.9562 | 0.9562 | 6.9562 | 42.9562 | 124.9562 | 7.2857 | 11.4142 | 15.5428
Unheated, short, thick FEP | 1.0999 | 0 | 1.0424 | 0.006547 | 2.2597 | 0.15229 | 5.2204 | 0.7668 | 1.7455 | 2.7455 | 4.7455 | 0.74548 | 0.74548 | 0.74548 | 1.0875 | 0.006069 | 2.1297 | 0.1956 | 5.2545 | 1.0336 | 0.74548 | 2.7455 | 2.7455 | 0.74548 | 0.74548 | 0.74548 | N/A | N/A | N/A | -0.24235 | 2.7931 | 5.8286 | 3s prior to switch were added to to allow impulse response curve fitting in the code. This has been removed here. Also note that the value of the D-excess signal never exceeds 3 per mil, and as such the t3‰ values have been marked N/A.
Heated, short, thick FEP | 0.96711 | 0 | 0.99441 | 0.01052 | 1.871 | 0.12335 | 4.9838 | 0.66434 | 5.4613 | 7.4613 | 7.4613 | 1.4613 | 1.4613 | 1.4613 | 0.73693 | 0.01499 | 1.4451 | 0.080987 | 4.5387 | 0.40848 | 3.4613 | 4.4613 | 9.4613 | 0.46129 | 1.4613 | 1.4613 | 1.4613 | 9.4613 | 17.4613 | 3.8691 | 5.9484 | 8.0278 | 3s prior to switch were added to to allow impulse response curve fitting in the code. This has been removed here.
Unheated PFA | 46.586 | 55 | 1.5664 | 0.004057 | 4.0163 | 0.13636 | 57.6835 | 0.63749 | 8.4852 | 15.4852 | 16.4852 | 1.4852 | 1.4852 | 1.4852 | 1.5148 | 0.002369 | 3.8997 | 0.10632 | 57.5148 | 0.49495 | 4.4852 | 8.4852 | 16.4852 | 0.4852 | 1.4852 | 1.4852 | 3.4852 | 29.4852 | 565.4852 | 2.5497 | 6.7937 | 11.0377
Heated PFA | 42.3309 | 49 | 1.4127 | 0.004234 | 3.5706 | 0.10556 | 52.0384 | 0.49646 | 9.9193 | 12.9193 | 15.9193 | 0.9193 | 0.9193 | 1.9193 | 1.4311 | 0.001664 | 5.0777 | 0.12695 | 52.0807 | 0.5053 | 5.9193 | 5.9193 | 14.9193 | 0.9193 | 0.9193 | 0.9193 | 4.9193 | 7.9193 | 40.9193 | 3.4778 | 6.7239 | 9.97
Dekabon* | 39.2817 | 401 | 39.51 | 0.04185 | 303.7904 | 1.4309 | 455.6 | 2.982 | 1415.1 | 1711.1 | 2022.1 | 172.1 | 182.1 | 199.1 | 3.387 | 0.0002481 | 67.8096 | 0.16716 | 405.9 | 0.1748 | 12.1 | 22.1 | 86.1 | 0.1 | 2.1 | 3.1 | 2040.1 | 2629.1 | 2737.1 | 107.5153 | 112.4848 | 117.4543 |  | H2O | H2O | H2O | H2O | H2O | H2O
location time adjusted
H2O-varying tests* | [33 empty] | t95% minimum (s) | t95% (s) | t95% maximum (s) | t63% minimum (s) | t63% (s) | t63% maximum (s)
WVISS-to-DPG switch
100 ft Dekabon | 39.2817 | 391† | 34.19 | 0.03982 | 239.8179 | 1.379 | 93.6 | 3.714 | 1414.31 | 1524.31 | 1654.31 | 151.31 | 154.31 | 164.31 | 2.342 | 0.0004774 | 22.7 | 0.050473 | 55.69 | 0.1206 | 42.31 | 56.31 | 80.31 | 3.31 | 4.31 | 4.31 | 1842.31 | 2183.31 | 2403.31 | 110.4941 | 111.56 | 112.6258 |  | 41.31 | 44.31 | 49.31 | 1.31 | 1.31 | 1.31
100 ft HDPE | 21.2379 | 51 | 1.2443 | 0.003517 | 3.4702 | 0.10031 | 54.2755 | 0.44919 | 14.9938 | 14.9938 | 21.9938 | 0.99377 | 0.99377 | 1.9938 | 1.2752 | 0.002626 | 3.934 | 0.11814 | 54.0062 | 0.50316 | 5.9938 | 5.9938 | 16.9938 | 0.99377 | 0.99377 | 0.99377 | 10.9938 | 10.9938 | 14.9938 | 26.89 | 28.7528 | 30.6157 |  | 2.9938 | 2.9938 | 3.9938 | -0.006229 | -0.006229 | -0.006229
2m Dekabon | 2.5775 | 51 | 1.837 | 0.000786 | 12.8271 | 0.091091 | 54.71 | 0.2597 | 35.45 | 43.45 | 55.45 | 2.45 | 2.45 | 3.45 | 1.28 | 0.0005167 | 3.1177 | 0.018712 | 53.55 | 0.08628 | 4.45 | 6.45 | 9.45 | 0.45 | 1.45 | 1.45 | 78.45 | 91.45 | 187.45 | 35.7032 | 37.4359 | 39.1686 |  | 2.45 | 3.45 | 3.45 | -0.55 | 0.45 | 0.45
2m HDPE | 1.3936 | 51 | 1.1395 | 0.00133 | 3.1032 | 0.063738 | 53.9246 | 0.28817 | 4.3928 | 6.3928 | 6.3928 | 0.39278 | 1.3928 | 1.3928 | 1.3433 | 0.002792 | 2.6662 | 0.095046 | 53.6072 | 0.50609 | 2.3928 | 3.3928 | 7.3928 | 0.39278 | 0.39278 | 1.3928 | 6.3928 | 8.3928 | 11.3928 | 30.8314 | 31.2763 | 31.7211 |  | 1.3928 | 2.3928 | 2.3928 | -0.60722 | 0.39278 | 0.39278
DPG-to-WVISS switch
100 ft Dekabon | 39.2817 | 48 | 17.8 | 0.03649 | 112.7674 | 1.4689 | 70.77 | 4.716 | 946.07 | 1128.07 | 1175.07 | 84.07 | 89.07 | 90.07 | 1.982 | 0.0007323 | 10.1717 | 0.063862 | 51.93 | 0.2122 | 14.07 | 32.07 | 56.07 | 1.07 | 2.07 | 2.07 | 1159.07 | 1632.07 | 1692.07 | 113.1527 | 118.4407 | 123.7287 |  | 32.07 | 46.07 | 50.07 | 0.07 | 1.07 | 2.07
100 ft HDPE | 21.2379 | 51 | 0.75701 | 0.00256 | 1.9126 | 0.018017 | 52.3637 | 0.07775 | 6.1706 | 6.1706 | 6.1706 | 1.1706 | 1.1706 | 1.1706 | 1.2825 | 0.002301 | 2.5107 | 0.07064 | 52.8294 | 0.37649 | 2.1706 | 6.1706 | 6.1706 | 0.1706 | 1.1706 | 1.1706 | 12.1706 | 14.1706 | 36.1706 | 22.5815 | 35.9924 | 49.4033 |  | 3.1706 | 6.1706 | 10.1706 | 0.1706 | 0.1706 | 0.1706
2m Dekabon | 2.5775 | 51 | 1.65 | 0.0005989 | 6.3462 | 0.052269 | 53.8 | 0.1997 | 18.73 | 29.73 | 29.73 | 0.73 | 1.73 | 1.73 | 1.067 | 0.0004457 | 2.3292 | 0.021935 | 53.27 | 0.1096 | 2.73 | 3.73 | 6.73 | -0.27 | 0.73 | 0.73 | 50.73 | 112.73 | 150.73 | 29.0667 | 29.9534 | 30.8401 |  | 2.73 | 2.73 | 3.73 | -0.27 | 0.73 | 0.73
2m HDPE | 1.3936 | 51 | 1.129 | 0.0001625 | 4.8168 | 0.0257 | 53.34 | 0.09448 | 4.86 | 4.86 | 6.86 | -0.14 | 0.86 | 0.86 | 0.7512 | 0.0004472 | 1.8143 | 0.0085214 | 53.14 | 0.03555 | 3.86 | 5.86 | 8.86 | 0.86 | 0.86 | 0.86 | 2.86 | 2.86 | 3.86 | 25.8339 | 29.0588 | 32.2837 |  | 2.86 | 2.86 | 5.86 | -0.14 | 0.86 | 0.86
Values of t63% may be negative due to faster H2O signal transitions than δ18O signal transitions
*for Dekabon and H2O varying tests, the lag time is not a true lag, as the exact switching time was not recorded electronically. This is instead the amount of time included in the dataset prior to the breakpoint value.
†the 391 lag is only for dD. For O18 the lag is 51s. For this experiment, the dD location had been adjusted for easier comparison. The memory metrics for this experiment presented in the "Raw Data" tab are calculated from the 391s added dataset, and appropriately adjusted in this tab.

## Raw data
|  |  | δD | δD | δD | δD | δD | δD | δD | δD | δD | δD | δD | δD | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | δ18O | D-excess | D-excess | D-excess | D-excess | D-excess | D-excess |  | H2O | H2O | H2O | H2O | H2O | H2O
|  | lag time (s, calculated from δ18O breakpoint) | standard deviation of pdf (σm, s ) | Std. Error of standard deviation of pdf (s) | mixing time (σs, s) | mixing time error (s) | location (ξ, s) | location error (s) | not adjusted | [6 empty] | Std. Error of standard deviation of pdf | mixing time (σs, s) | mixing time error (s) | location (ξ, s) | location error (s) | not adjusted | [5 empty] | not adjusted |  |  | ¦max peak¦ - st. dev (‰) | ¦max peak¦ (‰) | ¦max peak¦ + st.dev (‰) |  | not adjusted
| residence time (s, calculated based on temperature) | [7 empty] | t95% minimum (s) | t95% (s) | t95% maximum (s) | t63% minimum (s) | t63% (s) | t63% maximum (s) | standard deviation of pdf (σm, s ) | [5 empty] | t95% minimum (s) | t95% (s) | t95% maximum (s) | t63% minimum (s) | t63% (s) | t63% maximum (s) | t3‰ minimum (s) | t3‰ (s) | t3‰ maximum (s) |  |  |  |  | t95% minimum (s) | t95% (s) | t95% maximum (s) | t63% minimum (s) | t63% (s) | t63% maximum (s)
Tubing type
Figure 4 and S4 data bolded
H2O-matched experiments
WVISS-to-DPG switch
Unheated Copper | 48.2413 | 60 | 1.8327 | 0.005301 | 4.5406 | 0.1467 | 64.4358 | 0.69776 | 75 | 78 | 81 | 65 | 66 | 66 | 1.6347 | 0.0065 | 3.1716 | 0.10525 | 63.8833 | 0.56502 | 71 | 71 | 76 | 65 | 66 | 66 | 72 | 78 | 85 | 7.9568 | 10.2188 | 12.4808 |  | only calculated for H2O varying experiments below
Heated Copper | 43.3959 | 53 | 1.5419 | 0.004632 | 3.9019 | 0.10376 | 55.8697 | 0.48709 | 67 | 70 | 71 | 57 | 58 | 58 | 1.3641 | 0.004486 | 2.7961 | 0.067053 | 55.3291 | 0.3442 | 62 | 63 | 68 | 56 | 57 | 58 | 65 | 68 | 73 | 9.1804 | 9.9621 | 10.7437
Unheated PTFE | 47.8167 | 54 | 1.5488 | 0.004258 | 4.5813 | 0.14525 | 57.163 | 0.63158 | 72 | 77 | 83 | 58 | 59 | 59 | 1.5201 | 0.003537 | 3.5532 | 0.13183 | 56.9389 | 0.64584 | 61 | 65 | 73 | 57 | 58 | 58 | 72 | 125 | 271 | 7.2398 | 11.3463 | 15.4527
Heated PTFE | 42.9246 | 49 | 1.4787 | 0.004905 | 4.5372 | 0.13759 | 51.8497 | 0.58687 | 74 | 79 | 83 | 53 | 54 | 54 | 1.185 | 0.002419 | 2.9535 | 0.060518 | 51.1885 | 0.28504 | 56 | 57 | 68 | 52 | 52 | 52 | 89 | 104 | 126 | 14.9591 | 16.75 | 18.5409
Unheated HDPE | 21.2379 | 24.5 | 1.1269 | 0.004571 | 3.0051 | 0.11412 | 26.7789 | 0.52179 | 36 | 40 | 44 | 28 | 28 | 28 | 0.7989 | 0.005212 | 1.8131 | 0.046274 | 26.1284 | 0.23509 | 30 | 31 | 32 | 27 | 27 | 27 | 40 | 47 | 116 | 10.1617 | 10.7411 | 11.3204
Heated HDPE | 18.1164 | 22 | 1.0961 | 0.00658 | 2.885 | 0.12214 | 24.6397 | 0.5619 | 40 | 47 | 55 | 26 | 26 | 26 | 0.90097 | 0.004346 | 2.0012 | 0.052212 | 24.1213 | 0.26162 | 29 | 29 | 35 | 25 | 25 | 25 | 54 | 86 | 193 | 12.7562 | 15.0016 | 17.247
Unheated, thin FEP | 46.9481 | 55 | 2.0534 | 0.009161 | 5.6683 | 0.1815 | 59.4219 | 0.8169 | 82 | 89 | 93 | 61 | 62 | 62 | 1.3065 | 0.004777 | 3.0847 | 0.059463 | 58.0361 | 0.28255 | 65 | 69 | 71 | 59 | 60 | 60 | 81 | 89 | 130 | 19.2049 | 21.3684 | 23.5319
Heated, thin FEP | 43.0814 | 50 | 1.809 | 0.008041 | 5.6082 | 0.18549 | 53.3492 | 0.78622 | 86 | 91 | 100 | 55 | 56 | 56 | 1.3871 | 0.003653 | 3.3926 | 0.086977 | 52.3509 | 0.41487 | 60 | 61 | 69 | 53 | 54 | 54 | 94 | 136 | 136 | 24.8662 | 26.4447 | 28.0232
Unheated, thick FEP | 20.9638 | 25 | 1.1362 | 0.007608 | 2.7318 | 0.23423 | 27.6144 | 1.0791 | 35 | 39 | 39 | 29 | 29 | 29 | 1.1201 | 0.006941 | 2.5461 | 0.23431 | 27.3742 | 1.1087 | 32 | 32 | 37 | 28 | 28 | 28 | 35 | 46 | 85 | 6.3217 | 7.4909 | 8.66
Heated, thick FEP | 18.5609 | 22 | 1.0923 | 0.026383 | 2.9797 | 0.11147 | 25.0713 | 0.50554 | 37 | 40 | 43 | 26 | 26 | 26 | 0.66103 | 0.006144 | 1.7585 | 0.047811 | 24.4657 | 0.23543 | 28 | 31 | 31 | 25 | 25 | 26 | 38 | 45 | 83 | 11.5503 | 12.7885 | 14.0268
Unheated, short, thick FEP | 1.0999 | 3 | 0.96256 | 0.01216 | 1.9196 | 0.18915 | 5.2614 | 0.99377 | 10 | 12 | 12 | 6 | 6 | 6 | 0.70295 | 0.004782 | 1.5088 | 0.055419 | 4.8116 | 0.26606 | 8 | 9 | 10 | 6 | 6 | 6 | 12 | 14 | 22 | 4.9446 | 7.5623 | 10.18
Heated, short, thick FEP | 0.96711 | 3 | 0.8226 | 0.01024 | 1.5999 | 0.099243 | 4.8588 | 0.50422 | 10 | 11 | 13 | 6 | 6 | 6 | 0.77918 | 0.02378 | 1.4203 | 0.22716 | 4.6886 | 1.2274 | 9 | 9 | 11 | 6 | 6 | 6 | 4 | 12 | 14 | 4.8367 | 7.1957 | 9.5546
Unheated PFA | 46.586 | 59 | 1.5116 | 0.003926 | 3.8882 | 0.12919 | 58.9448 | 0.60298 | 70 | 73 | 75 | 60 | 60 | 61 | 1.3207 | 0.002212 | 3.6228 | 0.098478 | 58.6922 | 0.44441 | 64 | 65 | 69 | 59 | 60 | 60 | 67 | 75 | 84 | 6.2944 | 7.7682 | 9.2421
Heated PFA | 42.3309 | 51 | 1.4623 | 0.003942 | 3.7753 | 0.1162 | 53.566 | 0.54092 | 64 | 66 | 72 | 54 | 55 | 55 | 1.1983 | 0.002633 | 2.8441 | 0.059143 | 53.1525 | 0.28487 | 58 | 61 | 62 | 54 | 54 | 55 | 64 | 68 | 97 | 6.1071 | 8.2472 | 10.3873
Dekabon* | 39.2817 | 439 | 30.85 | 0.04212 | 208.6595 | 1.0255 | 486.5 | 2.345 | 1781 | 2096 | 2202 | 613 | 624 | 630 | 2.742 | 0.0002771 | 36.0901 | 0.083732 | 444.1 | 0.1739 | 453 | 473 | 488 | 445 | 446 | 448 | 2207 | 2789 | 2931 | 108.0479 | 114.7531 | 121.4583
DPG-to-WVISS switch
Unheated Copper | 48.2413 | 59 | 1.7007 | 0.005723 | 3.9098 | 0.11666 | 62.4691 | 0.57527 | 73 | 74 | 81 | 64 | 64 | 64 | 1.3443 | 0.004862 | 2.7725 | 0.066043 | 61.9515 | 0.33709 | 67 | 70 | 77 | 63 | 63 | 63 | 75 | 104 | 143 | 9.8707 | 12.3708 | 14.871
Heated Copper | 43.3959 | 51 | 1.5717 | 0.00472 | 4.0031 | 0.1122 | 54.3771 | 0.52537 | 65 | 70 | 71 | 56 | 56 | 56 | 1.263 | 0.003723 | 2.6681 | 0.057843 | 53.9219 | 0.29164 | 60 | 61 | 61 | 55 | 55 | 55 | 68 | 73 | 95 | 9.1706 | 11.0074 | 12.8441
Unheated PTFE | 47.8167 | 52.5 | 1.4627 | 0.004079 | 4.5334 | 0.12767 | 55.8664 | 0.54191 | 72 | 79 | 83 | 57 | 57 | 57 | 1.3617 | 0.002526 | 3.4895 | 0.087508 | 55.6522 | 0.40806 | 61 | 64 | 64 | 56 | 57 | 57 | 61 | 69 | 78 | 4.3134 | 7.5118 | 10.7103
Heated PTFE | 42.9246 | 48 | 1.5422 | 0.006491 | 4.5899 | 0.16123 | 50.7901 | 0.69843 | 78 | 89 | 100 | 53 | 53 | 53 | 1.55 | 0.001413 | 5.939 | 0.15529 | 50.71 | 0.5959 | 57 | 60 | 62 | 51 | 52 | 52 | 94 | 126 | 265 | 13.6706 | 17.4069 | 21.1432
Unheated HDPE | 21.2379 | 23 | 1.0551 | 0.009007 | 2.3407 | 0.11904 | 25.7623 | 0.60533 | 38 | 40 | 40 | 27 | 27 | 27 | 1.199 | 0.02089 | 2.674 | 1.2077 | 25.7517 | 5.5762 | 28 | 32 | 32 | 27 | 27 | 27 | 33 | 45 | 63 | 7.8134 | 9.0747 | 10.336
Heated HDPE | 18.1164 | 22 | 1.1907 | 0.006512 | 3.2194 | 0.13758 | 23.9524 | 0.62722 | 43 | 46 | 46 | 25 | 25 | 26 | 1.2187 | 0.004156 | 2.7255 | 0.1578 | 23.7613 | 0.78747 | 29 | 30 | 30 | 24 | 25 | 25 | 47 | 48 | 89 | 13.1155 | 15.0373 | 16.9591
Unheated, thin FEP | 46.9481 | 54 | 2.1807 | 0.01155 | 5.9209 | 0.20173 | 58.3642 | 0.91581 | 87 | 88 | 95 | 61 | 61 | 61 | 1.3911 | 0.00497 | 3.2513 | 0.058993 | 56.9725 | 0.27903 | 64 | 65 | 72 | 58 | 59 | 60 | 86 | 104 | 130 | 20.1617 | 23.0753 | 25.9889
Heated, thin FEP | 43.0814 | 48 | 1.7737 | 0.007939 | 5.3341 | 0.16658 | 51.9145 | 0.71717 | 78 | 87 | 101 | 54 | 54 | 55 | 1.4418 | 0.004583 | 3.2452 | 0.11722 | 51.1485 | 0.58548 | 58 | 62 | 86 | 52 | 53 | 53 | 86 | 96 | 244 | 21.979 | 25.697 | 29.4151
Unheated, thick FEP | 20.9638 | 24 | 1.1051 | 0.006403 | 2.5751 | 0.098023 | 26.7401 | 0.47894 | 35 | 43 | 47 | 28 | 28 | 28 | 0.73115 | 0.002303 | 1.761 | 0.020452 | 26.0407 | 0.081472 | 30 | 33 | 39 | 28 | 28 | 28 | 26 | 28 | 45 | 3.0271 | 6.3275 | 9.6279
Heated, thick FEP | 18.5609 | 22 | 1.0891 | 0.007062 | 2.608 | 0.10201 | 24.3143 | 0.49336 | 36 | 45 | 50 | 25 | 26 | 26 | 0.92771 | 0.002783 | 2.3294 | 0.051136 | 24.0438 | 0.24067 | 28 | 30 | 37 | 25 | 25 | 25 | 31 | 67 | 149 | 7.2857 | 11.4142 | 15.5428
Unheated, short, thick FEP | 1.0999 | 0 | 1.0424 | 0.006547 | 2.2597 | 0.15229 | 5.2204 | 0.7668 | 7 | 8 | 10 | 6 | 6 | 6 | 1.0875 | 0.006069 | 2.1297 | 0.1956 | 5.2545 | 1.0336 | 6 | 8 | 8 | 6 | 6 | 6 | 1 | 1 | 24 | -0.24235 | 2.7931 | 5.8286 | 3s prior to switch were added to to allow impulse response curve fitting in the code. This has been removed here.
Heated, short, thick FEP | 0.96711 | 0 | 0.99441 | 0.01052 | 1.871 | 0.12335 | 4.9838 | 0.66434 | 10 | 12 | 12 | 6 | 6 | 6 | 0.73693 | 0.01499 | 1.4451 | 0.080987 | 4.5387 | 0.40848 | 8 | 9 | 14 | 5 | 6 | 6 | 6 | 14 | 22 | 3.8691 | 5.9484 | 8.0278 | 3s prior to switch were added to to allow impulse response curve fitting in the code. This has been removed here.
Unheated PFA | 46.586 | 55 | 1.5664 | 0.004057 | 4.0163 | 0.13636 | 57.6835 | 0.63749 | 66 | 73 | 74 | 59 | 59 | 59 | 1.5148 | 0.002369 | 3.8997 | 0.10632 | 57.5148 | 0.49495 | 62 | 66 | 74 | 58 | 59 | 59 | 61 | 87 | 623 | 2.5497 | 6.7937 | 11.0377
Heated PFA | 42.3309 | 49 | 1.4127 | 0.004234 | 3.5706 | 0.10556 | 52.0384 | 0.49646 | 62 | 65 | 68 | 53 | 53 | 54 | 1.4311 | 0.001664 | 5.0777 | 0.12695 | 52.0807 | 0.5053 | 58 | 58 | 67 | 53 | 53 | 53 | 57 | 60 | 93 | 3.4778 | 6.7239 | 9.97
Dekabon* | 39.2817 | 401 | 39.51 | 0.04185 | 303.7904 | 1.4309 | 455.6 | 2.982 | 1821 | 2117 | 2428 | 578 | 588 | 605 | 3.387 | 0.0002481 | 67.8096 | 0.16716 | 405.9 | 0.1748 | 418 | 428 | 492 | 406 | 408 | 409 | 2446 | 3035 | 3143 | 107.5153 | 112.4848 | 117.4543 |  | H2O | H2O | H2O | H2O | H2O | H2O
not adjusted
H2O-varied tests* | [33 empty] | t95% minimum (s) | t95% (s) | t95% maximum (s) | t63% minimum (s) | t63% (s) | t63% maximum (s)
WVISS-to-DPG switch
100 ft Dekabon | 39.2817 | 391† | 34.19 | 0.03982 | 239.8179 | 1.379 | 433.6 | 3.714 | 1810 | 1920 | 2050 | 547 | 550 | 560 | 2.342 | 0.0004774 | 22.7 | 0.050473 | 55.69 | 0.1206 | 438 | 452 | 476 | 399 | 400 | 400 | 2238 | 2579 | 2799 | 110.4941 | 111.56 | 112.6258 |  | 437 | 440 | 445 | 397 | 397 | 397
100 ft HDPE | 21.2379 | 51 | 1.2443 | 0.003517 | 3.4702 | 0.10031 | 54.2755 | 0.44919 | 69 | 69 | 76 | 55 | 55 | 56 | 1.2752 | 0.002626 | 3.934 | 0.11814 | 54.0062 | 0.50316 | 60 | 60 | 71 | 55 | 55 | 55 | 65 | 65 | 69 | 26.89 | 28.7528 | 30.6157 |  | 57 | 57 | 58 | 54 | 54 | 54
2m Dekabon | 2.5775 | 51 | 1.837 | 0.000786 | 12.8271 | 0.091091 | 54.71 | 0.2597 | 89 | 97 | 109 | 56 | 56 | 57 | 1.28 | 0.0005167 | 3.1177 | 0.018712 | 53.55 | 0.08628 | 58 | 60 | 63 | 54 | 55 | 55 | 132 | 145 | 241 | 35.7032 | 37.4359 | 39.1686 |  | 56 | 57 | 57 | 53 | 54 | 54
2m HDPE | 1.3936 | 51 | 1.1395 | 0.00133 | 3.1032 | 0.063738 | 53.9246 | 0.28817 | 58 | 60 | 60 | 54 | 55 | 55 | 1.3433 | 0.002792 | 2.6662 | 0.095046 | 53.6072 | 0.50609 | 56 | 57 | 61 | 54 | 54 | 55 | 60 | 62 | 65 | 30.8314 | 31.2763 | 31.7211 |  | 55 | 56 | 56 | 53 | 54 | 54
DPG-to-WVISS switch
100 ft Dekabon | 39.2817 | 48 | 17.8 | 0.03649 | 112.7674 | 1.4689 | 70.77 | 4.716 | 998 | 1180 | 1227 | 136 | 141 | 142 | 1.982 | 0.0007323 | 10.1717 | 0.063862 | 51.93 | 0.2122 | 66 | 84 | 108 | 53 | 54 | 54 | 1211 | 1684 | 1744 | 113.1527 | 118.4407 | 123.7287 |  | 84 | 98 | 102 | 52 | 53 | 54
100 ft HDPE | 21.2379 | 51 | 0.75701 | 0.00256 | 1.9126 | 0.018017 | 52.3637 | 0.07775 | 59 | 59 | 59 | 54 | 54 | 54 | 1.2825 | 0.002301 | 2.5107 | 0.07064 | 52.8294 | 0.37649 | 55 | 59 | 59 | 53 | 54 | 54 | 65 | 67 | 89 | 22.5815 | 35.9924 | 49.4033 |  | 56 | 59 | 63 | 53 | 53 | 53
2m Dekabon | 2.5775 | 51 | 1.65 | 0.0005989 | 6.3462 | 0.052269 | 53.8 | 0.1997 | 72 | 83 | 83 | 54 | 55 | 55 | 1.067 | 0.0004457 | 2.3292 | 0.021935 | 53.27 | 0.1096 | 56 | 57 | 60 | 53 | 54 | 54 | 104 | 166 | 204 | 29.0667 | 29.9534 | 30.8401 |  | 56 | 56 | 57 | 53 | 54 | 54
2m HDPE | 1.3936 | 51 | 1.129 | 0.0001625 | 4.8168 | 0.0257 | 53.34 | 0.09448 | 58 | 58 | 60 | 53 | 54 | 54 | 0.7512 | 0.0004472 | 1.8143 | 0.0085214 | 53.14 | 0.03555 | 57 | 59 | 62 | 54 | 54 | 54 | 56 | 56 | 57 | 25.8339 | 29.0588 | 32.2837 |  | 56 | 56 | 59 | 53 | 54 | 54
*for Dekabon and H2O varying tests, the lag time is not a true lag, as the exact switching time was not recorded electronically. This is instead the amount of time included in the dataset prior to the breakpoint H2O value.
†the 391 lag is only for dD. For O18 the lag is 51s. For this experiment, the dD location had been adjusted for easier comparison. The memory metrics for this experiment presented in the "Raw Data" tab are calculated from the 391s added dataset, and appropriately adjusted in the "location adjusted" tab.
Note on U43: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This location value does not have the 340s extra time added.